## Sheet1
Name of work: “Construction of new DVOR building at C.A. Rajkot. Sub-Head: Electrical Works.”
Srno | Item | Unit | Qty
27 | Supply of surface mounting 15 W LED slim circular down lighter with high efficient LEDs & glare free diffuser complete with all necessary accessories suitable for 230 V, 50 Hz, single phase ac supply etc as required. | 6 | Each
28 | Supply of 34/36 W environmental friendly, aesthetically designed, ultra modern recess mounting LED luminarie suitable for 230 V, 50 Hz, single phase ac supply etc as required. | 9 | Each
29 | Supply of 90 Watt LED street light luminaries designed, housing made of pressure die cast alluminium, with heat resistant toughened glass, and specially formulated PC component injection moulded diffuser ingress protection of IP 65/66 having efficiency more than 80 lumens/watt, complete with integral type high efficiency driver, operating voltage of 100-300 volts, mounting accessories and suitable to operate on 230 volt, 50 Hz, single phase ac supply etc as required. | 6 | Each
52 | Supply of portable type emergency light with torch having back up time of 4 hours complete with standard accessories all as required. (Make : Phillips rechargeable LED lantern or equivalent) | 6 | Each