## BoQ1
eProcurement System for Organisations under MoD Created By: ALOK SHUKLA Created Date/Time: 09-Oct-2019 05:31 PM Tender Title: SPECIAL REPAIRS REPLACEMENT TO CONVENTIONAL INTERNAL AND EXTERNAL FITTINGS INTO LED LIGHT FITTINGS IN CERTAIN BUILDINGS AT SITE P AT AF STN THANE UNDER GE AF THANE Tender ID: 2019_MES_273491_1
Tender Inviting Authority: CWE (AF) LOHEGAON
Name of Work: SPECIAL REPAIRS / REPLACEMENT TO CONVENTIONAL INTERNAL AND EXTERNALFITTINGS INTO LED LIGHT FITTINGS IN CERTAIN BUILDINGS AT SITE P AT AF STN THANE UNDER GE (AF) THANE
Contract No: CWE/AF/LOH/ 2019-20 Ser Page No ___________
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty
1.00 | Taking down carefully Light fitting of any type from walls/roofs including necessary accessories complete all as specified and as directed by the Engr- in- Charge.
2.00 | Supply , fixing & testing Decorative ultra slim LED 9/10 Watt,220 volt 2 feet long tube light fitting with co extruded polycarbonate body, environmental friendly, energy efficient comprises of thermally conductive material,pre wired with high efficiency electronic driver along with high translucent froted diffuser gets glare free smooth light distribution,including connection in existing wiring complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 470
3.00 | Supply , fixing & testing Decorative ultra slim LED 18/20 Watt, 220 volt 4 feet long tube light fitting with co extruded polycarbonate body, environmental friendly, energy efficient comprises of thermally conductive material,pre wired with high efficiency electronic driver along with high translucent froted diffuser gets glare free smooth light distribution,including connection in existing wiring complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 1500
4.00 | Supply , fixing & testing Slim surface ceilling mounted square LED ceilling 18/20 Watt, 220 volt LED light fitting made with. die cast body with premium diffuser to ensure glare free & even distribution of light of size ,Length: 192 mm,,Width: 192 mm including necessary connection,cutting /reparing ceiling complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 26.00
5.00 | Supply , fixing & testing recess mounted aesthetically designed recessed round shaped polycarbonate fixtureLED downlight fitting 12 W neutral white of size 155mm dia including necessary connection,cutting /reparing ceilingcomplete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 50
6.00 | Supply , fixing & testing aesthetically designed liner Mirrior light with high out put PMMA diffuser for glare free LED 7 watt light complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 30
7.00 | Supply , fixing & testing Environmental friendly, ,aesthetically designed, ultra modern recess mounting luminaire with high brightness LED down light fitting size 2x2 luminaire 42 watt, 220 volt SMD LEDs as light source, suitable for Armstrong/Grid ceiling Fixture complet including necessary fixing arrengement in ceilling cutting /reparing to match with existing ceilling.complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 86.00
8.00 | Supply , fixing & testing LED 10/12 watt,wall mounted decorative luminaires with OPEL polycarbonate diffuser type of size 290mm dia and 80mm high, complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 20
9.00 | Supply , fixing & testing LED Lamp 10 watt two pin suitable of fitted in Normal holder complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 500
10.00 | Supply ,fixing & testing LED 25 watt post-top lantran made with spun aluminium landscape luminaireenergy with necessary connection, GI ppe as per fitting size complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 35
11.00 | Supply , fixing & testing 30 watt suspended LED linear light tube fitting with CRCA metal housing including necessary connection complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic driver with efficiency >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 2 KV ensuring longer life. | 30
12.00 | Supply , fixing & testing LED 30 watt, building security light pressure die cast housing with epoxy power coated dark graphite grey colour finish prismatic polycarbonate cover with individual LED lenses with IP-65 protectionincluding suitable size bracket made with GI pipe with necessary clamp ,nuts ,bolt complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 5 KV ensuring longer life. | 20
13.00 | Supply , fixing & testing energy efficient die-cast aluminium well glass luminaires with high power LED 40 watt suitable for fitting in hanger including connection ,necessary hook clamp ,nuts bolt complete all as specified and as directed by the Engr- in- Charge. Note- LED light shall be with antiflikering effect and electronic >85% with inbuilt protection against over votage, short circuit and surge/ spike protection up to 5 KV ensuring longer life. | 30
14.00 | Supply ,fixing & testing single sided LED signage with built in battery back up suitable green/Red colour for "EXIT"sign board complete all as specified and as directed by the Engr- in- Charge. | 2.00
15.00 | Supply , fixing & testing single sided LED signage colour for "ENTRY "sign board complete all as specified and as directed by the Engr- in- Charge. | 2.00
16.00 | Supply ,fixing & testing energy efficient Decorative gate/garden light made up of high grade unbreakable polycarbonate material suitable for retrofit 10W LED bulb with base,Mounting Pole Dia - 60mm (max) OD,Dimension: Width: 215 mm & Height: 348 mm complete all as specified and as directed by the Engr- in- Charge. | 10
17.00 | Supply , fixing & testing LED 20 watt,wall mounted decorative luminaires with OPEL polycarbonate diffuser type of size 290mm dia and 80mm high complete all as specified and as directed by the Engr- in- Charge. | 30
18.00 | M&L for extension of point wiring with existing size of cable with other accessories up to celling rose of light fitting complete all as specified and as directed by the Engr- in- Charge. | 100.00
19.00 | M&L for wiring with PVC caping casing for light point complete with 1.5 Sqmm PVC insulated and PVC unsheathed 1100 volt grade with multistranded copper conductor cable with and including drawn through PVC conduit with all accessories fixed on walls/floors/roofs with and including pressed steel terminal sunken boxes with 3mm thick laminated bakelite sheet top cover fixed with cadmium plated screws, cup washer for housing switches, fan regulator, etc including provision of 1.5 Sq mm PVC insulated copper wire as earth continuity conductor and connecting to common earth dolly. complete all as specified and as directed by the Engr- in- Charge. | 150.00
20.00 | M & L for Piano Switch flush type 5A one way complete all as specified and as directed by the Engr- in- Charge. | 150.00
21.00 | M&L for repair the damage surface to match the existing of the wall/ceilling at the time of fixing the LED light fitting complete all as specified and as directed by the Engr- in- Charge. | 1500.00
22.00 | M&L for lamp holder PVC/Polycarbonate type with back plate suitable for batten fitting for fixing the LED lamp complete all as specified and as directed by the Engr- in- Charge. | 150.00
| Total in Figures |  | 2177352.00 | 2405000.00 | 2748380.00 | 2407563.00
Lowest Amount Quoted BY: Vinod Enterprises(2177352.00)

## BOQ Summary
BOQ Summary Details Tender Title: SPECIAL REPAIRS REPLACEMENT TO CONVENTIONAL INTERNAL AND EXTERNAL FITTINGS INTO LED LIGHT FITTINGS IN CERTAIN BUILDINGS AT SITE P AT AF STN THANE UNDER GE AF THANE Tender ID: 2019_MES_273491_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vinod Enterprises | 2177352.00 | L1
| 2 | NANGIA AND CO | 2405000.00 | L2
| 3 | Veer High Tech Solution | 2407563.00 | L3
| 4 | EVEREST POWER CONTROL ENGINEERS | 2538810.00 | L4
| 5 | DHARMESH ENTERPRISES | 2580785.00 | L5
| 6 | SAI SERVICE | 2748380.00 | L6