## page 1
ENQUIRY FOR RATE FOR TMCE PROJECT - 11.01.2020.
Sr.No. | Item Description | Qty. | Rate | Amount
1 | Providing & Erecting Integral high pressure Die cast/extruded aluminum LED Streetlight luminary with proper heat dissipation & toughened glass protector or with non yellowing injection molded polycarbonate cover having high light transmission index. The LEDs are provided with suitable lens for dispersal for achieving street light optics to ensure uniform light distribution. The LED fixtures are designed for at least L70 life of minimum 50,000 burning hours. at ambient temperature not less than 350C. The system wattage (fixture's total power consumption)should be 200 W +/- 5 Watt. Details as per technical specification attached. | 98 | 0 | 0
2 | Supply Installation Testing & commissioning of Integral high pressure Die cast/extruded aluminum LED Streetlight luminary the system wattage (fixture's total power consumption) should be 120W +/- 5 Watt Details as per technical specification attached. | 107 | 0 | 0
0