## Sheet1
ENQUIRY FOR RATE FOR MBPT TENDER - 16.01.2020
Sr.No. | Items Description | Qty. | Rate | Amount
1 | Supply and Delivery of LED twin tube light fixture comprisesof box type channel, cover with prewired accessories, suitable for 2 Nos of 18/20W LED tubes. The housing & cover shall be CRCA & white epoxy powder coated from inside and outside. | 500 | 0 | 0
2 | Supply and Delivery of LED twin tube light fixture comprisesof box type channel, cover with prewired accessories, suitable for 2 Nos of 18/20W LED tubes. The housing & cover shall be CRCA & white epoxy powder coated from inside and outside. | 500 | 0 | 0
3 | Supply & delivery of 18/20W LED tube light with polycarbonate front cover and aluminium back cover for adequate heat dissipation, fixture officacy>100 Lumen/Watt, CRI>80,THD<10%, Colour temperature 5000-5700K, IP20, 4kv Surge Protection, suitable for fixtures at Sr. No. 2 and 4. | 12000 | 0 | 0
0