## 62-ELEC-BOQ
PROPOSED OFFICE FACILITY 91 SPRINGBOARD AT - SECTOR-62 NOIDA
BILL OF QUANTITIES FOR LIGHTING ELECTRIFICATION WORK
REVISION - R1, DATED:31-7-2019
SL. | DESCRIPTION | UNIT | QTY. | UNIT RATE |  | TOTAL PRICE
NO. |  |  |  | SUPPLY | INSTLN. | SUPPLY | INSTLN. | TOTAL
17 | LUMINAIRES
Supply & Installation of lighting fixtures as per the Drawings and details below including necessary hardware such as clamps,nuts, bolts, nails, screws and suspension rods as required for fixing the fixtures in position as directed by architect / consultant / client.
NOTE:
ALL THE LIGHT FITTINGS SELECTED BY THE CLIENTS
LIGHT FITTINGS SHALL BE PROCURED ONCE THE FINAL
APPROVAL GIVEN BY THE ARCHITECTS / CLIENTS
CLIENTS HAVE RESERVE TO CHANGE THE LIGHT FITTINGS
17.1 | DECORATIVE LED LIGHT FITTINGS
a | 36 Watts Recess Mounted LED 2'x2' panel With | Nos. | UR |  |  | 0 | 0 | 0
| Electronic Driver & other Accessories |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
c | 9 Watts Recess Mounted LED light Fitting with other | Nos. | 60 |  |  | 0 | 0 | 0
| Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TS9W-RDL-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
d | Decorative 18Watts Recess Mounted LED light Fitting with frosted | Nos. | 120 |  |  | 0 | 0 | 0
| diffuser in bottom surface with electronic driver & other accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TS18W-RDL-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
e | 18Watts Surface Mounted (DOME TYPE)LED light Fitting with | Nos. | 310 |  |  | 0 | 0 | 0
| frosted diffuser in bottom surface with electronic driver & other accessories |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
f | 6 Watts Recess Mounted adjustable LED light Fitting with | Nos. | UR |  |  | 0 | 0 | 0
| electronic ballast & other accessories |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
g | 50Watts LED 600mm Circular Light fitting with diffuser with | Nos. | 70 |  |  | 0 | 0 | 0
| Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-50W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
h | 36Watts LED 450mm Circular Light fitting with diffuser with | Nos. | 80 |  |  | 0 | 0 | 0
| Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-36W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
h | 24Watts LED 300mm Dia Circular Light fitting with | Nos. | 50 |  |  | 0 | 0 | 0
| Diffuser with Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-24W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
h | 70Watts LED 1400/1600mm Dia Circular Light fitting with | Nos. | 50 |  |  | 0 | 0 | 0
| Diffuser with Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-70W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
i | 10Watts LED 100 mm Dia Cone Type Light fitting with | Nos. | 16 |  |  | 0 | 0 | 0
| Diffuser with Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TCL-10W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
j | 10Watts LED 200 mm Dia Cone Type Light fitting with | Nos. | 5 |  |  | 0 | 0 | 0
| Diffuser with Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TCL-10W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
k | Decorative 24W LED 4' LED Batten Light Fitting with Electronic Driver & other Accessories with Joining Kit for Joining 2 nos 4' Light Fittings in work station area | Nos. | 70 |  |  | 0 | 0 | 0
| (AHU ROOM/ELEC. ROOM ETC) |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
l | Supply and Installation of 24 W-4' linear down suspended LED non-dimmable light fixture(1200mm Length-4') {Only down light} | Nos. | 200 |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TITMSL24W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
m | Supply and Installation of 48 W -8' linear down suspended LED non-dimmable light fixture(2400mm Length-8') {Only down light} | Nos. | 265 |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TITMSL48W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
n | Supply and Installation of 72 W-12' linear down suspended LED light fixture(3600mm Length-12') {Only down light} | Nos. | 116 |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TITMSL72W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
o | Supply and Installation of 20 W Suspended 450mm Dia Dome Type LED light fixture with other Accessories | Nos. | 10 |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDL20W-5700K |  |  |  |  | 0 | 0 | 0
| Area of Usage: Work station |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
p | Supply and Installation of 20 W Suspended 600mm Dia Dome Type LED light fixture with other Accessories | Nos. | 5 |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDL 20W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
q | Supply and Installation of 70 W 3000mm Dia Ring Type LED light fixture with other Accessories | Nos. | UR |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TRL- 70W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
| FOR CAFETERIA |  |  |  |  | 0 | 0 | 0
r | Decorative 18Watts Recess Mounted LED light Fitting with frosted | Nos. | 25 |  |  | 0 | 0 | 0
| diffuser in bottom surface with electronic driver & other accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TS18W-RDL-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
s | 24Watts Decorative LED 300mm Dia Circular Light fitting with | Nos. | 20 |  |  | 0 | 0 | 0
| Diffuser with Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-24W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
t | 36Watts Decorative LED 450mm Circular Light fitting with diffuser with | Nos. | 25 |  |  | 0 | 0 | 0
| Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-36W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
u | 50Watts Decorative LED 600mm Circular Light fitting with diffuser with | Nos. | 15 |  |  | 0 | 0 | 0
| Electronic Driver & Other Accessories |  |  |  |  | 0 | 0 | 0
| Model: TRANSIND TECHNOLOGIES-TDF-50W-5700K |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
r | Supply and Installation of Track Light Fitting with Accessories. 3Nos of 18W LED Lights will be Mounted on 1M Track with Electronic Driver and other Accessories | Nos. | 12 |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
s | Decorative Flexible LED Ribon with 48Nos of 0.2Watts LED's in 1 | Mtrs. | 15 |  |  | 0 | 0 | 0
| M length made out of Flexible UV stabalised silicone with |  |  |  |  | 0 | 0 | 0
| 120Deg. Beam angle with IP-65 protection with all other |  |  |  |  | 0 | 0 | 0
| Accessories |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
| NOTE |  |  |  |  | 0 | 0 | 0
| LIGHT FITTINGS FOR THE CAFETERIA IS INDICATIVE ONLY |  |  |  |  | 0 | 0 | 0
| TYPE AND NUMBER OF LIGHTS SHALL BE TAKEN AS PER |  |  |  |  | 0 | 0 | 0
| ARCHITECT DESIGN |  |  |  |  | 0 | 0 | 0
| SUB TOTAL |  | 1539 |  |  | 0 | 0 | 0
| GRAND TOTAL |  |  |  |  | 0 | 0 | 0
per sft