## Summary
MEBP FRONT PRCEL (HOTEL & CONVENTION CENTRE) |  | Volume 4: Bill of Quantities
SUMMARY
Item No | Description | Amount
(Rs)
4 / 2.1 | Circuit Cum Point Wiring
4 / 2.2 | Underfloor Raceway & Junction Boxes
4 / 2.3 | Cables, Mains and Sub Mains
4 / 2.4 | Panels / Distribution Boards / Rising Mains
4 / 2.5 | Panels / Distribution Boards / Bus Ducts Rising Mains-Client'S Scope
4 / 2.6 | Capacitor Banks with Detuned Filter in Automatic Control Units (Electrical Contractors Scope)
4 / 2.7 | Capacitor Banks With Detuned Filter in Automatic Control Units (Client's Scope)
4 / 2.8 | Earthing Installation (for Power Distribution Systems, UPS System, DG Sets & EPABX
4 / 2.9 | Supply of Lighting Fixtures
4 / 2.10 | Installation of Lighting Fixtures
4 / 2.11 | HV Installation (Electrical)
4 / 2.12 | HV Installation (Supply - Client's Scope)
4 / 2.13 | HT Cables & LT Control Cables
4 / 2.14 | Earthing for Sub-Station Equipment
4 / 2.15 | Cabling and Installation of Lighting Fixture for External / Landscape Lighting
4 / 2.16 | Conduiting and Cabling for Data & Wi-Fi System
4 / 2.17 | Inverter (Electrical Contractor's Scope)
4 / 2.18 | Inverter (Client's Scope)
4 / 2.19 | UPS
4 / 2.20 | UPS-Client'S Scope
Sub Total
Add: GST
| GRAND TOTAL | 0

## Supply of Lighting Fixtures
MEBP FRONT PRCEL (HOTEL & CONVENTION CENTRE) | [8 empty] | Volume 4: Bill of Quantities
Item No | Description | Unit | Quantities |  |  |  |  | Rate | Amount
|  |  | Hitlon Hotel | Hilton Garden Inn | Convention Center | Common Areas | Total | (Rs) | (Rs)
4 / 2.9 | SUPPLY OF LIGHTING FIXTURES
1 | This schedule of Quantities shall be read in conjuction with the technical specification, General & Special conditions as well as all tender drawings.
2 | The rates shall include all components that may be required to make the supply complete in all respects such as :
a | Including All lamps, accessories & electronic ballast unless otherwise specified.
b | Internal wiring between accessories.
c | Earthing terminal.
d | Complete provision for installation.
3 | All materials to be selected as per LEED requirements
4 / 2.9 | SUPPLY OF LIGHTING FIXTURES (FOR BOH AND PARKING AREAS)
Supply of the following lighting fixtures with all fixing accessories etc. as required.
4 / 2.9.1 | 1x60W Square Light Fixture Recess Mounted Equivalent to PHILIPS CR652B LED56S CR CW GT TOUGHEND) | Nos. | RO | RO | RO | 35 | 35
4 / 2.9.2 | 1x18W LED Downlight Fixture Equivalent to PHILIPS DN195B LED20S-6500 PSU WH S1) | Nos. | RO | RO | 41 | 238 | 279
4 / 2.9.3 | 1 x 38 Watts LED 2'x2' Light fixture equivalent to Philips CR625B LED 33S CR CW GT Toughned Glass. | Nos. | 14 | 38 | 176 | 125 | 353
4 / 2.9.4 | 1x40W LED Tube Light Fixture Equivalent to PHILIPS BN100C LED40S-6500 PSU L120 GR | Nos. | 127 | 111 | 118 | 396 | 752
4 / 2.9.5 | 1X25W Square Light Fixture Recess Mounted PHILIPS RC380B LED30S G4 L60 W60. | Nos. | 126 | 153 | 189 | 635 | 1103
4 / 2.9.6 | 1X20W Square Light Fixture Recess Mounted RC380B LED25S G4 L60 W60 | Nos. | RO | RO | RO | 57 | 57
4 / 2.9.7 | 1x7W LED Down Light Fixture Equivalent to PHILIPS DN 391B LED6S-6500 PSU WH | Nos. | RO | RO | RO | 48 | 48
4 / 2.9.8 | 1X36W LED LIght Fixture Equivalent to India Bulls Lighting IBLED ICLEL02-36XX ECO PRIM LED-IP65 (All Light Fittings should be with Reflector) | Nos. | RO | RO | RO | 643 | 643
4 / 2.9.9 | 1X18W LED LIght Fixture Equivalent to India Bulls Lighting (IBLED ICEL02-18XX ECO PRIM LED-IP65 (All Light Fittings should be with Reflector) | Nos. | 10 | 10 | 10 | 414 | 444
4 / 2.9.10 | 1X18W LED LIght Fixture Equivalent to India Bulls Lighting (IBLED ICEL02-18XX ECO PRIM LED-IP65 (All Light Fittings should be with Polycarbonate Enclosure) | Nos. | 60 | 65 | 50 | RO | 175
4 / 2.9.11 | 1x15W LED Down Light Fixture Equivalent to Philips DN 394B LED16S-6500 PSU WH | Nos. | RO | RO | RO | RO | RO
4 / 2.9.12 | 1x12W Bulkhead Light Fixture Bulkhead : Al. Die cast housing powder coated die cast aluminium housing powder coated white. Dome with EPDM gasket for IP65 Protection with Opal diffuser complete assembly with LED, driver and accessories. (For Lift Shafts, HH and HGI Guest Rooms) | Nos. | 340 | 412 | 35 | 34 | 821
4 / 2.9.13 | 1x28W Wall Mounted Light Fixture Equivalent to Philips BN 021 LED 25S 6500 PSU GR 51 | Nos. | RO | 8 | RO | RO | 8
4 / 2.9.14 | 1 x 60 Watts Hi Bay Light Fitting Equivalent to Philips BY325P LED130S CW PSU GR FG WB XTFCL V1 for DG Room | Nos. | RO | RO | RO | 50 | 50
4 / 2.9.15 | LED flameproof wellglass luminaire 40W, recommended for illuminating hazardus area-HSD yard area, die cast aluminium housing with toughned clear heat resistance well glass is cemented into a retaining ring which is fixed with screws to the main housing | Nos. | RO | RO | RO | 6 | 6
Section 4 / 2.9: Total Carried Over to Summary | [8 empty] | 0