## LIGHT FIXTURE
Project |  | : Zydus Cadila R & D, VADODARA
MEP Consultant |  | : Pankaj Dharkar & Associates
Document |  | : Quantity sheet
Date |  | : 04-01-2019
Quantity sheet for light fixture(6500 K)
Sr. no. | Description | location | Basement floor | Ground floor |  |  | First floor |  |  | 2nd floor |  | 3rd floor |  | 4th floor |  | 5th floor | 6th floor
|  |  |  | s | n | g | s | n | g | s | n | s | n | s | n | s | s | Total lights
1 | 10 w led downlighter LD-90-111-XXX-65-XX-WIPRO OR EQUIVELENT(11 W) | passage |  | 87 | 25 |  | 64 | 18 | 19 | 70 | 18 | 72 | 20 | 72 | 12 | 72 | 50 | 599
2 | 07 w led downlighter CRDL11R008HP57-WIPRO OR EQUIVELENT(06 W) | toilet |  | 18 | 17 |  | 14 | 17 |  | 14 | 20 | 14 | 18 | 14 |  | 14 | 18 | 178
3 | 36 w led square fitting | lab |  | 66 | 44 | 5 | 91 | 38 |  | 96 | 32 | 98 | 0 | 80 |  | 80 | 10 | 640
4 | 26 w led down lighter | office |  |  | 10 | 91 | 121 | 21 | 129 | 80 | 100 | 57 | 20 | 100 |  | 100 | 25 | 854
5 | 26 w led tube light | ahu | 225 | 2 |  |  |  | 2 |  | 2 |  | 2 |  | 2 |  | 2 | 2 | 239
6 | 18 w led square/down led light | second floor | [8 empty] | 115 | [6 empty] | 115
7 | Ramp light | Basement | 100 | [14 empty] | 100
8 | Lamp holder | all floor | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 90
9 | duct light | all floor | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 60

## Reference
Project :- R&D CENTER, Baroda
SR. No. | Description | Reference catalogue number
1 | 10W LED DOWNLIGHT ROUND | Wipro Make Cat.no-LD-90-111-XXX-65-XX-11 W-6500 K or Equivalent
2 | 7W LED DOWNLIGHT ROUND | Wipro Make Cat.no-CRDL11R008HP57-06 W-5700 K or Equivalent
3 | COB 6W SPOT LIGHTADJ. ANGLE OF LED | Wipro Make Cat.no-LD98-900-024-40-XX-6W-4000 K or Equivalent
4 | COB 6W LED DOWNLIGHT | Wipro Make Cat.no-LD98-900-024-40-XX-6W-4000 K or Equivalent
5 | 36W LED SQUARE FITTING | Wipro Make Cat.no-CRCO10S038HP57GL1-36W-5700 K or Equivalent
6 | 36W LED SQUARE FITTING FLAME PROOF | FCG LIGHT FIXTURE or Equivalent
7 | 26W LED DOWNLIGHT FLAME PROOF | FCG LIGHT FIXTURE or Equivalent
8 | 26W LED DOWNLIGHT CLEAN ROOM | Wipro Make Cat.no-LC20-441-XXX-57-XX-30W-5700 K or Equivalent
9 | 26W LED DOWNLIGHT | Wipro Make Cat.no-CRDL11R03333HP57-26W-5700 K or Equivalent
10 | 31/40 LED CAPSULE LIGHT | Wipro Make Cat.no-LE20-491-XXX-57-G1-40W-5700 K or Equivalent
11 | 18W LED SQUARE / DOWN LIGHT | Wipro Make Cat.no-LD-90-111-XXX-65-XX-18 W-6500 K or Equivalent
12 | COB 18W LED SQUARE / DOWN LIGHT | Wipro Make Cat.no-LD-58-251-060-40-XX-20 W -4000 K or Equivalent
13 | RAMP LIGHT UNDER WATER TYPE LONG BEAM -7-9 WATT | Wipro Make Cat.no-LW07-141-XXX-57-XX-10W-5700 K or Equivalent
14 | 9 W LED BULK HEAD | Wipro Make Cat.no-LW07-141-XXX-57-XX-10W-5700 K or Equivalent
EXTERNAL AREA LIGHT FIXTURES ARE EXCLUDED