## Sheet1
COMPLIANCE REPORT
PROJECT: MPC-09 Electrical Pacakge (Oil India Project) |  | Rev no. - R0
Document Description: High Mast and Street light |  | Date - 29.08.19
Sr.no | ABB observation dt 18.07.19 | Bidder reply
1 | As per our RFQ all the AC LED Lights shall be 240V AC Phase to Phase. Please confirm.
2 | Data sheet of High Mast and Street light poles shall be submitted.
3 | Bidder to confirm High Mast and Street light foundation design details shall be submitted after award of cotract. Bidder to confirm.
4 | Please submit the signed and stamp copy of RFQ.
5 | PROVEN TRACK RECORD (PTR): Vendor shall complete the Experience Record Performance to amply prove that the Equipment offered meets the EQC for technical acceptance. Vendor may furnish additional information to justify that the EQC is being met. In addition, manufacturer's catalogue and general reference list for all the above equipment shall also be furnished along with the bid/proposal.
6 | Please confirm all the type test, special test (as per IS/IEC) of similar rating need to be submitted to Owners approval during detail engineering. If similar rating type & special test reports are not available, bidder has to conduct the test without commercial implication. Bidder to confirm.
7 | Deviations if any should be brought out very clearly on deviation sheet enclosed with the specification only. Otherwise it will be considered that the bidder’s offer is in line with what has been stated /asked for in this specification.
8 | Bidder to confirm that all the requirements of tender specification are complied with and there are no deviations from the specification.
9 | Catalog of offered light fixture shall be submitted.
10 | Bidder to submit the Lighting design (using Dia Lux) after award of contract.