## Sheet1
Sl. No. | Description | Technical Specification | Qty
1 | 12W LED STREET LIGHT | Input Voltage: 100-300V AC, Internal Driver 5KV with power cut-off arrangement in case of Phase-to-Phase/440V fault, THD<10%, Working Humidity - 10%-90% RH, CCT- 5700k, CRI>80, Wattage of LEDs - 1W , with Potted Driver | 26260
2 | 24W LED STREET LIGHT | LED Efficacy>135lm/w, Lum Efficacy>110lm/W, CRI>80, Warranty - 10 yrs, | 1416
3 | 30W LED STREET LIGHT | PDC Housing with toughened glass | 5504
4 | 36W LED STREET LIGHT |  | 90
5 | 50W LED STREET LIGHT |  | 1258
6 | 72W LED STREET LIGHT |  | 500
7 | 90W LED STREET LIGHT |  | 574
8 | 110 W LED STREET LIGHT |  | 574
9