## Sheet1
Sl | Item Description | Unit | Qty | Remarks
17 | Plant Illumination
Lighting fixtures, industrial grade along with lamp, control gear unit consisting of reflector, ignitor, capacitor unit (wherever required), mounting brackets, PVC cable glands etc. The out door fixtures shall be water proof with IP-65 protection enclosure. Junction Box for Lighting Fixture shall be part of Supply of Bidder.
a) | 48 W LED 2X2 Recess mounted fitting with high effcient LEDs & glare free opal diffuser and necessary hardware equivalent to Halonix make HLFPR22-02-48-CW-III | Nos | 50
b) | 40 W LED FIXTURES WELL GLASS , IP 65 (With 100 x 100 Lighting JB ) | Nos | 200
c) | 150 W LED Bay Light IP 65 equivalent to Halonix make HLBL-ML04-150-CWL | Nos | 12
Note on B2: Author: yet to finalize BOQ. Model no changed